## Slide 1
Energy Market
Analysis and Forecasting
Romania and Hungary
Presented by Damien Hajjar
23/05/2024

## Slide 2
Power Generation Stack - Romania
Key observations
Seasonal variations :
  Peaks in winter and dip in summer due to heating demand
Multiple sources of energy generation :
  Hydro and Nuclear : significant and constant contributions
  Fossils fuels : lignite and hard coal are tending to decline but fossilgas remains predominant
  Renewable energy : wind depends on weather conditions and solar energy is still underdeveloped
  Biomass : minor contribution
Global View :
  The visualization highlights the complexity and dynamics of managing an energy grid with multiple sources, each with its own characteristics and variability.

## Slide 3
Power Generation Stack - Hungary
Key observations
Seasonal variations :
  Peaks in winter and dip in summer due to heating demand
Dominant energy sources :
  Nuclear : major and constant contribution
  Lignite : significant but declining contribution
  Fossil Gas : significant and constant contribution
  Wind : visible but minor contribution
  Solar : rapidly increasing since 2020
  Biomass : steadily and small contribution
Global View :
  Hungary relies primarily on nuclear power, lignite, and fossil gas, but is aiming to reduce its fossil fuel dependence by significantly developing solar energy production.

## Slide 4
Average Load in Romania
Key Observations
Daily patterns :
  Morning increase when people start their day
  Afternoon peak when people returning home
Weekly patterns :
  The load is generally higher on weekdays with a maximum on Wednesday
  Saturday and Sunday have a lower load due to reduced commercial and industrial activity
General Trends :
  Daily and weekly patterns reflects the regular routines of residential, comercial and industrial consumers.
  Variation in demand indicates the need for flexible energy sources

## Slide 5
Romanian Load Forecast
Key observations
Seasonal variations
Yearly trends :
  Recurrent pattern of rising and falling demand
Peak Load :
  Highest load reach above 9000 MW
  Notable secondary peaks during summer due to air conditioning
  Lower loads drop to 3000 MW in 2024 which sounds like an outlier

## Slide 6
Romanian Load Forecast
Mean Squared Error: 453,167
Root Mean Squared Error: 673
Mean Absolute Error: 558
Mean Absolute Percentage Error: 9.39%
XGBoost Model
Features
  Day of the week
  Hour
  Day of the year
  Training data < 2022
  Test data >= 2022
Additional parameters and features
Weather data :
  Temperature , Humidity
  Precipitation ,Wind speed
Economic indicators :
  GDP
  Industrial Production Index
  Unemployment Rate
Demographic data :
  Population Growth
  Urbanization Rate
Energy prices :
  Electricity tariffs
  Fuel Prices
Renewable Energy Integration
Limitations
  Data avaibility and quality
  Model complexity
  Uncertainty and variability

## Slide 7
Romanian Load Forecast
XGBoost Model
Key observations
Seasonal trends :
  The forecasted load maintains the seasonal patterns observed in the historical data
Load variation :
  Range of load values similar to the historical data
Planning and Management :
  Anticipate demand and ensure a reliable supply
  Optimizing ressource allocation, managing energy reserves...

## Slide 8
Hungarian Solar Generation Forecast
The load factor is a measure of the efficiency of solar power generation relative to its installed capacity, with higher values indicating more efficient generation
Solar Load Factor
Key Observations
Peak solar efficiency :
  Midday hours : highest load factors
  Summer months : June and July exhibit the highest load factor
Seasonal Variations
  Spring and Fall : moderate load factors
  Winter Months : lower load factors
Consistent patterns :
  Predictable solar generation behavior based on the time of the day and the season

## Slide 9
Hungarian Solar Generation Forecast
Hourly Solar Generation Forecast with Load Factor Matrix and installed capacity projection
Key Observations
Seasonal patterns
Installed capacity impact :
  Reach up to almost 3500 MW indicating a growth in installed dcapacity
Insights and implication :
  Grid stability and flexibility : accomodate the variable nature of solar power.
  Environmental impact

## Slide 10
Thank you very much!
Presented by Damien Hajjar
23/05/2024